|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **GENERAL ITEMS** | | | | | | |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  | TI-01 | Engineered Timber Flooring | VOSS. Voss with mitre edge | 190x15x1900mm | Woodcut |  |
|  |  |  | Concept Oak wenworth? |  | https://www.nationaltiles.com.au/shop-flooring/shop-by-type/timber | $80sqm |
|  |  |  | Shannon? |  | <https://perfectoakfloors.com.au/> |  |
|  |  | Staircase Balutrade | To match balcony balustrade (Refer to architectural plans)  Hardwood Victorian Ash steps. ~42mm? |  |  |  |
|  |  | Plaster Board | 10mm thick plaster board throughout. 10mm thick aquachek to all wet areas. |  |  |  |
|  |  | Plaster Board (kids room) | Sound check (or equivalent) on all shared walls  Sound insulation on all shared walls |  |  |  |
|  |  | Insulation | Sound insulation on Living/Dining area |  |  |  |
|  |  | Square Set to ceiling & Windows |  |  |  |  |
|  |  | Door Jambs | Ezy Jamb |  |  |  |
|  |  | Skirting Boards | Square Edge | 180mm High 12mm Thick |  |  |
|  |  | Front Door | Steel door Black double |  | Zen | As selected by client |
|  | CP - 01 | Carpet | Range. Modern Living Colour. 760 Shadow 100% Nylon |  |  |  |
|  |  | Light and power switches | Clipsal Iconic (white) |  |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| INTERNAL DOORS | | | | | | |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  |  | Internal Doors | Internal MDF Semi Solid Door External Solid Core Door | Refer to architectural plans for sizing |  | Painted in Dulux Wash and Wear White on White Code. PN2G1 Semi Gloss Finish \*Or similar to be approved by client |
|  |  | Door Hinge | Hirline Easy Fit Hinge Code. H-10072-MB Finish. Matte Black |  | The Lock and Handle Ph. 03 9489 0514 |  |
|  |  | Door Stop | Black Door Stop Round Wall Mount Finish. Matte Black Code. DS-RND-WM-MB |  | The Lock and Handle Ph. 03 9489 0514 | $8.76 |
|  |  | Internal Swing Door Handles | Susie Round Finish. Matte Black Code. Z-7112-MB  OR similar |  | The Lock and Handle Ph. 03 9489 0515 | $48 |
|  |  | Internal Cavity Slider Door Handles | Flush Pull Round Finish. Matte Black Code. BL-R-FP001  OR similar |  | The Lock and Handle Ph. 03 9489 0515 | $12 |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| STUDY | | | | | | |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
| American Oak Veneer | MR MDF | Trademaster | TMV 01 | Joinery- Floating Shelf | Floating Shelf – American Oak |  |  |  |
| American Oak Veneer | MR MDF | Trademaster | TMV 01 | Desk | American Oak |  |  |  |
|  | LM-02 | Cabinetry –  Laminate | Black Wenge Ravine |  | Kinsman/Laminex/Polytect | Laminate |
|  |  | Handles | Half moons - Black |  |  | Black handles on black |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| POWDER | | | | | | |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  |  | Wall faced toilet Qty: 1 | Caroma Forma Invisi Over Height Back to wall Toilet Suite with Adjustable Flush Pipe Less Buttons White (4 Star)  Product code: 1806181  WALL FACED |  | Reece | $1270.24  \*Or similar to be approved by client |
|  |  | Toilet Push Plate Qty: 1 | Hideaway+ Metal Button Matte Black  Product code: 1804857 |  | Reece  <https://www.reece.com.au/product/toilets-c469/toilet-buttons-access-plates-c825/hideaway-metal-button-matte-black-1804857> | \*Or similar to be approved by client |
|  |  | Basin Qty: 1 | Caroma Cube Undercounter Basin with Overflow 500mm White  Product code: 1807418 |  | Reece  <https://www.reece.com.au/product/caroma-cube-undercounter-basin-with-overflow-1807418?query=undermount> | $447.84  To be installed with black waste.  \*Or similar to be approved by client |
|  |  | Basin Mixer and Tap | Phoenix  Mekko |  | <https://www.phoenixtapware.com.au/product/mekko-wall-basin-bath-mixer-set-200mm/?finish=mb> | \*Or similar to be approved by client |
|  |  | Shower Mixer Qty: 1 | Phoenix  Mekko |  | <https://www.phoenixtapware.com.au/product/mekko-shower-wall-mixer/?finish=mb> | \*Or similar to be approved |
|  |  | Shower Head & Arm Qty: 1 | Phoenix  NX Quil Twin Shower |  | Reece  <https://www.phoenixtapware.com.au/product/nx-quil-twin-shower/?finish=mb> | \*Or similar to be approved by client |
|  |  | Toilet Roll Holder Qty: 1 | Milli Glance Toilet Roll Holder Black  Product code: 9503884 |  | Reece | \*Or similar to be approved by client  $117 |
|  |  | Shower Flange Qty: 1 | TBC |  | <https://www.phoenixtapware.com.au/product/phoenix-flat-slimline-channel-drain-30x900mm-outlet-65mm/?finish=mb>  OR  <https://www.phoenixtapware.com.au/product/phoenix-v-channel-drain-hg-75-x-1215mm-outlet-65mm/?finish=mb> | \*Or similar to be approved by client |
|  |  | Towel rail | Caroma Cosmo Double Towel Rail (Metal) 900mm Black  Product code: 2268051 |  | Reece | $132  \*Or similar to be approved by client |
| https://cdn.shopify.com/s/files/1/0259/4455/5629/products/BUCH_90_LED_WALL_BLACK_de04279a-2125-44fe-a37a-a3cc8ec33ae4.jpg?v=1627963184 |  | Pendent light | About Space – Buch 90 |  | https://www.aboutspace.net.au/products/buch-90?variant=39400576155757 | Already purchased |
| Silver Galaxy (Light) | ST-01 | Benchtop Natural stone |  |  |  |  |
|  | FT-01 | Floor tile | Porcelain  60cm x 60cm  Grey tones |  |  |  |
|  | WT-01 | Wall tile | Porcelain  30cm x 60cm  Grey tones |  |  | Will this work better to have 30x60 on the walls? Less wastage? |
|  | WT-02 | Feature tile | Finger tiles |  | <https://www.nationaltiles.com.au/3dcandlecarrarahoned> | Do we tile behind the mirror? |
|  | LM-02 | Cabinetry –  Laminate | Black Wenge Ravine |  | Polytec | Laminate  Finger pull |
|  |  | ~~Joinery handles – Full and drawers length doors only~~  \*DELETE\* | ~~Brass bar handle~~ |  | ~~https://loandcointeriors.com.au/products/hentley-pull-black~~ | ~~Inspiration only~~ |
|  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| LAUNDRY | | | | | | |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  |  | Trough Qty: 1 | Franke Laundry Tub DLT 610 Finish. Stainless Steel Code. 101.0189.144 | 6000x500x260mm | <https://www.appliancesonline.com.au/product/franke-dlt610-single-laundry-tub?region_id=3000111> | \*Or similar to be approved by client  $375  Provided by client |
|  |  | Mixer Tap Qty: 1 | Mizu Soothe Square Gooseneck Sink Mixer Tap Matte Black (4 Star) |  | <https://www.reece.com.au/product/tapware-accessories-c2518/kitchen-laundry-tapware-c2594/sink-mixers-c494/mizu-soothe-square-gooseneck-sink-mixer-tap-matte-9506865> | \*Or similar to be approved by client  $295  Provided by client |
|  | WT-03 | Splashback – White subway tiles |  |  |  |  |
|  | LM-01 | Joinery  Laminate - White | TBC |  |  | Top shelves push to open?  All full length/bottom to have handles |
|  |  | Joinery handles – Full and drawers length doors only | Black bar handle |  | https://loandcointeriors.com.au/products/hentley-pull-black | Inspiration only |
| Silver Galaxy (Light) | ST-01 | Natural Stone | Light silver |  | <https://attilasnaturalstone.com.au/product/silver-galaxy-light/>  <https://www.cdkstone.com.au/product/super-white/> | All edges to be mitred. |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| KITCHEN | | | | | | |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  |  | Sink Qty: 1 | Franke KBG110-74-BONYX Kubus Single Bowl Undermount Sink  Code. KBG110-74-BONYX | 802x460x205mm | https://www.appliancesonline.com.au/product/franke-kbg110-74-bonyx-kubus-sink | Provided by client |
|  |  | Mixer Tap Qty: 1 | FRANKE TA7501MB ACTIVE NEO MATTE BLACK PULL OUT MIXER TAP |  |  | Provided by client?  \*Still to buy |
|  |  | Dishwasher Qty: 1 | Smeg - DWAFI6D15T3 |  | https://www.smeg.com.au/products/DWAFI6D15T3 | Cabinet Maker must check measure cavity to fit Dishwasher specs.  Provided by client |
|  |  | Oven Qty: 1 | Smeg - SFPA6104TVN |  | <https://www.eands.com.au/smeg-sfpa6104tvn-linea-60cm-black-pyrolytic-oven> | Cabinet Maker must check measure cavity to fit Oven specs.  Provided by client |
|  |  | Steam oven 1 | Smeg - SFA4104VCN |  | https://www.eands.com.au/smeg-sfa4104vcn-linea-45cm-black-combi-steam-oven | Cabinet Maker must check measure cavity to fit Oven specs.  Provided by client |
|  |  | Cooktop Qty: 1 | Gas – Smeg PV395LCNAU |  | https://www.eands.com.au/smeg-pv395lcnau-classic-90cm-black-gas-cooktop | Cabinet Maker must check measure cavity to fit Cooktop specs.  Provided by client |
|  |  | Rangehood Qty: 1 | Whispair Monte Carlo 90 Undermount  In roof motor |  |  | Cabinet Maker must check measure cavity to fit Rangehood specs. \*Or similar to be approved by client  Need to make sure it’s in roof and really strong |
|  |  | Intergrated Fridge / Freezer Qty: 2 | Liebherr SICN3356LHH  Liebherr SICN3356RHH |  | https://www.eands.com.au/liebherr-sicn3356lhh-283l-integrated-bottom-mount-fridge  liebherr-sicn3356rhh-283l-integrated-bottom-mount-fridge | Cabinet Maker must check measure cavity to fit Fridge & Freezer specs.  Provided by client |
| Silver Galaxy (Light) | ST-01 | Natural Stone | Light silver |  | <https://attilasnaturalstone.com.au/product/silver-galaxy-light/>  <https://www.cdkstone.com.au/product/super-white/> | All edges to be mitred. |
|  | LM-02 | Cabinetry – Island | Black Wenge Ravine  Montauk |  | Kinsman | Island Draws with integrated handles  Should this be white or black? |
|  | PW-01 | Cabinetry – Island kickboard | Black Wenge Ravine  Avalon panelling |  | Kinsman | Island kickboard with Avalon panelling finish  Should this be white or black? |
|  | LM-01 | Cabinetry – Top shelves and Full length doors  2PAC | Shaker style  White Matt  Montauk Classic |  |  | Kitchen wall cabinetry  Top shelves – Push to open  Full Length/drawers – Handles |
|  |  | Joinery handles – Full and drawers length doors only | Black bar handle |  | https://loandcointeriors.com.au/products/hentley-pull-black | Inspiration only |
|  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| BUTLERS | | | | | | |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
| Kubus | KBG 110-50 | Fragranite Onyx | Sinks |  | Sink Qty: 1 | Franke KBG110-50ONYX Kubus Single Bowl Undermount Sink  Code. KBG110-50ONYX | 540x440x200mm | https://www.appliancesonline.com.au/product/franke-kbg110-50onyx-kubus-sink | \*Or similar to be approved by client  $788  Provided by client |
|  |  | Mixer Tap Qty: 1 | Mizu Soothe Square Gooseneck Sink Mixer Tap Matte Black (4 Star) |  | <https://www.reece.com.au/product/tapware-accessories-c2518/kitchen-laundry-tapware-c2594/sink-mixers-c494/mizu-soothe-square-gooseneck-sink-mixer-tap-matte-9506865> | \*Or similar to be approved by client  $295  Provided by client |
|  |  | Bar Fridge | Schmick Black 2 door bar fridge (SK190-B) |  | https://www.bar-fridges-australia.com.au/schmick-black-stainless-steel-bar-fridge-tropical-rated-2-door-with-heated-glass-and-triple-glazed-model-sk190-b.html | Cavity Dimensions  Width: 890MM  Depth: 550mm  Height: 885mm  Minimum ventilation  Each side: 10mm  Rear: 50mm  Top 10mm |
|  | WT-04 | Splashback – White herringbone tiles | White mat finish |  | <https://www.nationaltiles.com.au/stucco-latte-matt> |  |
|  | LM-02 | Cabinetry - Dark Laminate |  |  |  | Kitchen wall cabinetry  Top shelves – Push to open  Bottom shelves with integrated handles |
| Silver Galaxy (Light) | ST-01 | Benchtop Natural stone |  |  |  |  |
|  |  | Handles |  |  |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Living Room | | | | | | |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT |  |
| Silver Galaxy (Light) | ST-01 | Natural Stone | Light silver |  | <https://attilasnaturalstone.com.au/product/silver-galaxy-light/>  <https://www.cdkstone.com.au/product/super-white/> |  |
| Luminar 4000 Inbuilt Gas Log Fire | Illusion Gas Log Fires |  | Fireplace Qty 1 | Illuision Luminar 3000 |  | https://illusionfires.com.au/product/luminar-3000-inbuilt-package/ |  |
|  | PW-01 | Fireplace feature panelling | Black Wenge Ravine  Avalon panelling | Kinsman | Avalon panelling finish  Match the kitchen kick board |  |
|  | LM-01 | Cabinetry – Cabinets  2PAC | Shaker style  White Matt  Montauk Classic |  | No handles, push to open |  |
|  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| UPSTAIRS BATHROOM | | | | | | |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  |  | Basin Qty: 2 | Caroma  Quinn 570 Under counter basin | 570 x 320 x 205 | <https://tradelink.com.au/quinn-570-under-counter-basin-134696/> | To be installed with black waste.  $597  \*Or similar to be approved by client |
|  |  | Basin Mixer and Tap | Phoenix  Mekko |  | <https://www.phoenixtapware.com.au/product/mekko-wall-basin-bath-mixer-set-200mm/?finish=mb> | \*Or similar to be approved by client |
|  |  | Shower Mixer Qty: 1 | Phoenix  Mekko |  | <https://www.phoenixtapware.com.au/product/mekko-shower-wall-mixer/?finish=mb> | \*Or similar to be approved |
| c |  | Shower Head & Arm Qty: 1 | Phoenix  NX Quil Twin Shower |  | Reece  <https://www.phoenixtapware.com.au/product/nx-quil-twin-shower/?finish=mb> | \*Or similar to be approved by client |
|  |  | Bath Qty: 1 | Caroma Urbane II 1600mm Freestanding Bath White |  | Reece  <https://www.reece.com.au/product/baths-spas-c441/baths-c2524/freestanding-baths-c442/caroma-b131000/caroma-urbane-ii-1600mm-freestanding-bath-2006324> | $2088  To be installed with black waste. \*Or similar to be approved by client |
|  |  | Towel rail Qty 1 | Radii Towel Ladder 550 X 740mm Round Plate |  | <https://tradelink.com.au/radii-towel-ladder-550-x-740mm-round-plate-158881/> | $594 |
|  |  | Shower Flange Qty: 1 | TBC |  | <https://www.phoenixtapware.com.au/product/phoenix-flat-slimline-channel-drain-30x900mm-outlet-65mm/?finish=mb>  <https://www.phoenixtapware.com.au/product/phoenix-v-channel-drain-hg-75-x-1215mm-outlet-65mm/?finish=mb> | \*Or similar to be approved by client |
| Silver Galaxy (Light) | ST-01 | Natural Stone | Light silver |  | <https://attilasnaturalstone.com.au/product/silver-galaxy-light/>  <https://www.cdkstone.com.au/product/super-white/> |  |
|  | FT-01 &  WT-05 | Floor tile and wall | Porcelain  60cm x 60cm  Grey tones |  |  |  |
|  | LM-01 | Cabinetry - White | Laminex/Polytec – Calm White |  |  | Push to open |
|  |  | Pendent light Qty 2 | About Space – Buch 60 |  | https://www.aboutspace.net.au/products/buch-90?variant=39400576155757 | Already purchased |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| UPSTAIRS POWDER ROOM | | | | | | |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  |  | Toilet Roll Holder Qty: 1 | Milli Glance Toilet Roll Holder Black  Product code: 9503884 |  | Reece | \*Or similar to be approved by client  $117 |
|  |  | Hand towel | Mizu Drift Towel Rail 300mm Matte Black  Product Code: 2263992 |  | Reece | $ 88 |
|  |  | Wall faced toilet Qty: 1 | Caroma Forma Invisi Over Height Back to wall Toilet Suite with Adjustable Flush Pipe Less Buttons White (4 Star)  Product code: 1806181  WALL FACED |  | Reece | $1270.24  Provided by client |
|  |  | Toilet Push Plate Qty: 1 | Hideaway+ Metal Button Matte Black  Product code: 1804857 |  | Reece  <https://www.reece.com.au/product/toilets-c469/toilet-buttons-access-plates-c825/hideaway-metal-button-matte-black-1804857> | \*Or similar to be approved by client |
|  |  | Basin Qty: 1 | Caroma Cube Undercounter Basin with Overflow 500mm White  Product code: 1807418 |  | Reece  <https://www.reece.com.au/product/caroma-cube-undercounter-basin-with-overflow-1807418?query=undermount> | $447.84  To be installed with black waste. \*Or similar to be approved by client |
|  |  | Basin Mixer and Tap | Phoenix  Mekko |  | <https://www.phoenixtapware.com.au/product/mekko-wall-basin-bath-mixer-set-200mm/?finish=mb> | \*Or similar to be approved by client |
| Silver Galaxy (Light) | ST-01 | Natural Stone | Light silver |  | <https://attilasnaturalstone.com.au/product/silver-galaxy-light/>  <https://www.cdkstone.com.au/product/super-white/> |  |
|  | FT-01 &  WT-05 | Floor tile and wall | Porcelain  60cm x 60cm  Grey tones |  |  |  |
|  |  | Feature tile | Colour/Style TBC |  |  |  |
|  | LM-01 | Cabinetry - White | Laminex/Polytec – Calm White |  |  | Push to open |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **MASTER ENS** | | | | | | |  |  |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  |  | Basin Qty: 2 | Caroma  Quinn 570 Under counter basin | 570 x 320 x 205 | <https://tradelink.com.au/quinn-570-under-counter-basin-134696/> | To be installed with black waste.  $597  \*Or similar to be approved by client |
|  |  | Basin Mixer and Tap  Qty :2 | Phoenix  Mekko |  | <https://www.phoenixtapware.com.au/product/mekko-wall-basin-bath-mixer-set-200mm/?finish=mb> | \*Or similar to be approved by client |
| c |  | Shower Head & Arm Qty: 2 | Phoenix  NX Quil Twin Shower |  | Reece  <https://www.phoenixtapware.com.au/product/nx-quil-twin-shower/?finish=mb> | \*Or similar to be approved by client |
|  |  | Toilet Roll Holder Qty: 1 | Milli Glance Toilet Roll Holder Black  Product code: 9503884 |  | Reece | \*Or similar to be approved by client  $117 |
|  |  | Wall faced toilet Qty: 1 | Caroma Forma Invisi Over Height Back to wall Toilet Suite with Adjustable Flush Pipe Less Buttons White (4 Star)  Product code: 1806181  WALL FACED |  | Reece | $1270.24  Provided by client |
|  |  | Toilet Push Plate Qty: 1 | Hideaway+ Metal Button Matte Black  Product code: 1804857 |  | Reece  <https://www.reece.com.au/product/toilets-c469/toilet-buttons-access-plates-c825/hideaway-metal-button-matte-black-1804857> | \*Or similar to be approved by client |
|  |  | Shower Flange Qty: 1 | TBC |  | <https://www.phoenixtapware.com.au/product/phoenix-flat-slimline-channel-drain-30x900mm-outlet-65mm/?finish=mb>  <https://www.phoenixtapware.com.au/product/phoenix-v-channel-drain-hg-75-x-1215mm-outlet-65mm/?finish=mb> | \*Or similar to be approved by client |
|  |  | Pendent light Qty 2 | About Space – Buch 60 |  | https://www.aboutspace.net.au/products/buch-90?variant=39400576155757 | Already purchased |
| Silver Galaxy (Light) | ST-01 | Natural Stone | Light silver |  | <https://attilasnaturalstone.com.au/product/silver-galaxy-light/>  <https://www.cdkstone.com.au/product/super-white/> |  |
|  | FT-01 &  WT-05 | Floor tile and wall | Porcelain  60cm x 60cm  Grey tones |  |  |  |
|  |  | Feature tile? |  |  |  |  |
|  | LM-01 | Cabinetry - White | Laminex/Polytec – Calm White |  |  | Push to open |
|  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **WIR** | | | | | | |  |  |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  | LM-01 | Cabinetry - White | Laminex/Polytec – Calm White |  | Kinsman or similar | Handle open for all  No handles on the internal drawers |
|  |  | Handles | Half moons - Black |  |  | Black handles on black |
|  |  | Handles – knobs for top | To match the eclipse half moons |  |  |  |
|  | TMV02 | Shelf |  |  | Nicer shelfs in Row4, what are our options? |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Master Bedroom** | | | | | | |  |  |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  | LM-01 | Cabinetry - White | Laminex/Polytec – Calm White |  | Kinsman or similar |  |
|  |  | Handles | Half moons - Black |  | Small half moon? Or keep it flush? |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Master Study** | | | | | | |  |  |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  | LM-01 | Cabinetry - White | Laminex/Polytec – Calm White |  | Kinsman or similar |  |
|  |  | Handles | Half moons - Black |  | Small half moon? Or keep it flush? |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Bedroom 2,3,4** | | | | | | |  |  |
| IMAGE | CODE | DESCRIPTION | COLOUR/FINISH | DIMENSIONS | SUPPLIER/CONTACT | NOTES |
|  |  | Joinery handles – Full and drawers length doors only | Black bar handle |  | https://loandcointeriors.com.au/products/hentley-pull-black | Inspiration only |
|  | LM-01 | Cabinetry - White | Laminex/Polytec – Calm White |  | Kinsman or similar |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| GARAGE | | | | | |
| Basic white doors with handles |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ALFRESCO | | | | | | |
| Tile type  Heater | | | | | | |
| <https://www.pureventilation.com.au/outdoor-bbq-ventilation/> |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
| ELECTRICAL | | | | | | |
|  |  | Strip Lighting | Recessed LED strip light Colour. Warm White |  |  | Refer to joinery drawings for locations. \*Or similar to be approved by client |
|  |  | Light switches |  |  |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| BUILDING SPECIFICATIONS | | | | | | |
|  |  | Retractable fly screen in living/dining |  |  |  |  |
|  |  | Downlights above BBQ area |  |  |  |  |
|  |  | Windows opening upstairs? + Retractable fly screen? |  |  |  |  |
|  |  | Exposed Aggregate driveway? |  |  |  |  |
|  |  |  |  |  |  |  |